## SIEVERT
PDO Radiaton Source Inventory
Contractor / Source Holder | Location | Storage Area at Location (PDO/ contractor) | Radionuclide and activity | Date of origin | Source ID / Pitail No. | Source Permit number & expiry date | Camera Serial No | Camera permit expiry date | wipe tested Y/N | next leak/wipe test due on | Date of expected change | Remarks
Galfar / Sievert | Lekhawair | Galfar ODC Project | Ir-192 & 24.56 | 05/04/2016 | AE499 / 8930G | 224/57/2016 & 21/03/2017 | D5854 | 31/12/2016 | Yes | 13/10/2016 | When the source strength less then 5 Ci.
Galfar / Sievert | Lekhawair | Galfar ODC Project | Ir-192 & 24.56 | 05/04/2016 | AE504 / 8933G | 224/57/2016 & 21/03/2017 | D2873 | 31/12/2016 | Yes | 16/09/2016 | -do-
Galfar / Sievert | Qarn Alam | Galfar ODC Project | Ir-192 & 24.56 | 05/04/2016 | AE505 / 8958G | 224/57/2016 & 21/03/2017 | D4210 | 31/12/2016 | Yes | 16/09/2016 | -do-
Galfar / Sievert | Qarn Alam | Galfar ODC Project | Ir-192 & 24.60 | 05/04/2016 | AE506 / 8902G | 224/57/2016 & 21/03/2017 | D3481 | 31/12/2016 | Yes | 16/09/2016 | -do-
LTMFY / Sievert | Sohar | LTMFY RHIP | Ir-192 & 38.15 | 05/04/2016 | AE514 / 8901G | 225/57/2016 & 21/03/2017 | D3237 | 31/12/2016 | Yes | 15/09/2016 | -do-
ATE / Sievert | Nimr | ATE ODC Project | Ir-192 & 24.51 | 05/04/2016 | AE515 / 8878G | 225/57/2016 & 21/03/2017 | D5772 | 31/12/2016 | Yes | 25/03/2016 | -do-
LTMFY / Sievert | Sohar | LTMFY RHIP | Ir-192 & 38.15 | 05/04/2016 | AE516 / 8921G | 226/57/2016 & 21/03/2017 | D5834 | 31/12/2016 | Yes | 04/04/2017 | -do-
LTMFY / Sievert | Sohar | LTMFY RHIP | Ir-192 & 38.57 | 05/04/2016 | AE517 / 8935G | 226/57/2016 & 21/03/2017 | D2874 | 31/12/2016 | Yes | 30/06/2016 | -do-
ATE / Sievert | Marmul | ATE ODC Project | Ir-192 & 25.29 | 2016-02-17 | AE087 / 8731G | 59/57/2016 & 31/01/2017 | D5833 | 31/12/2016 | Yes | 15/09/2016 | -do-
LTMFY / Sievert | Sohar | LTMFY RHIP | Ir-192 & 25.23 | 2016-02-17 | AE089 / 8755G | 59/57/2016 & 31/01/2017 | D2907 | 31/12/2016 | Yes | 16/09/2016 | -do-
Galfar / Sievert | Fahud | Galfar ODC Project | Ir-192 & 12.35 | 2016-02-17 | AE243 / 8762G | 57/57/2016 & 31/01/2017 | D5845 | 31/12/2016 | Yes | 30/06/2016 | -do-
ATE / Sievert | Nimr | ATE ODC Project | Ir-192 & 12.46 | 2016-02-17 | AE245 / 8732G | 57/57/2016 & 31/01/2017 | D5846 | 31/12/2016 | Yes | 2017-02-20 | -do-
ATE / Sievert | Marmul | ATE ODC Project | Ir-192 & 12.35 | 2016-02-17 | AE246 / 8777G | 57/57/2016 & 31/01/2017 | D4212 | 31/12/2016 | Yes | 30/06/2016 | -do-
ATE / Sievert | Bahja | ATE ODC Project | Ir-192 & 12.64 | 2016-02-17 | AE247 / 8737G | 57/57/2016 & 31/01/2017 | D3233 | 31/12/2016 | Yes | 2017-01-28 | -do-
Galfar / Sievert | Fahud | AHPS ODC Project | Ir-192 & 12.35 | 2016-02-17 | AE248 / 8754G | 58/57/2016 & 31/01/2017 | D2871 | 31/12/2016 | Yes | 16/09/2016 | -do-
Galfar / Sievert | Lekhawair | Galfar ODC Project | Ir-192 & 12.72 | 2016-02-17 | AE249 / 8730G | 58/57/2016 & 31/01/2017 | D6025 | 31/12/2016 | Yes | 14/10/2016 | -do-
ATE / Sievert | Marmul | ATE ODC Project | Ir192 & 12.4 | 2016-02-17 | AE261 / 8769G | 58/57/2016 & 31/01/2017 | D4188 | 31/12/2016 | Yes | 13/09/2016 | -do-
Galfar / Sievert | Qarn Alam | Galfar ODC Project | Ir-192 & 15.47 | 14/12/2015 | AD957 / 8598G | 965/57/2015 & 30/11/2016 | D2881 | 31/12/2016 | Yes | 23/12/2016 | -do-
ATE / Sievert | Amal | ATE ODC Project | Ir-192 & 7.28 | 14/12/2015 | AD958 / 8592G | 965/57/2015 & 30/11/2016 | D2876 | 31/12/2016 | Yes | 11/02/2017 | -do-
ATE / Sievert | Bahja | ATE ODC Project | Ir-192 & 7.06 | 14/12/2015 | AD959 / 8581G | 965/57/2015 & 30/11/2016 | D3484 | 31/12/2016 | Yes | 25/03/2016 | -do-
Sievert Technical Inspection LLC. | Muscat | Sievert Local storage | Ir-192 & 7.06 | 14/12/2015 | AD964 / 8560G | 965/57/2015 & 30/11/2016 | D4190 | 31/12/2016 | Yes | 08/02/2017 | -do- | Not in use
ATE / Sievert | Nimr | ATE ODC Project | Ir-192 & 7.08 | 14/12/2015 | AD966 / 8566G | 966/57/2015 & 30/11/2016 | D6024 | 31/12/2016 | Yes | 13/05/2016 | -do-
ATE / Sievert | Nimr | ATE ODC Project | Ir-192 & 7.51 | 14/12/2015 | AD968 / 8597G | 966/57/2015 & 30/11/2016 | D3485 | 31/12/2016 | Yes | 23/12/2016 | -do-
ATE / Sievert | Marmul | ATE ODC Project | Ir-192 & 6.93 | 14/12/2015 | AD969 / 8586G | 966/57/2015 & 30/11/2016 | D3291 | 31/12/2016 | Yes | 23/12/2016 | -do-
ATE / Sievert | Muscat | Sievert Local storage | Ir-192 & 6.89 | 14/12/2015 | AD970 / 8555G | 966/57/2015 & 30/11/2016 | D2917 | 31/12/2016 | Yes | 01/07/2016 | -do- | Not in use
AHEC / Sievert | Zualiayah | AHEC Zualiayah Gas Plant Project | Ir-192 & 7.06 | 14/12/2015 | AD972 / 8575G | 967/57/2015 & 30/11/2016 | D3483 | 31/12/2016 | Yes | 23/12/2016 | -do-
AHEC / Sievert | Ghaba North | AHEC Ghaba North Redevelopment Project | Ir-192 & 6.88 | 14/12/2015 | AD973 / 8596G | 967/57/2015 & 30/11/2016 | D6022 | 31/12/2016 | Yes | 30/06/2016 | -do-

## Hi-TECH
PDO Radiaton Source Inventory
Date of Inventory: 06 June 2016
Contractor / Source Holder | Location | Storage Area at Location (PDO/ contractor) | Radionuclide and activity | Date of origin | Source ID No. | Source Permit number & expiry date | Camera Serial No | Camera permit expiry date | wipe tested Y/N | next leak/wipe test due on | Date of expected change | Remarks
Hi-tech Inspection services LLC | NIMR | WPAI/PDO pit room | Ir-192 (17.28 Ci ) | 2016-05-04 | 26088H | Permit#2016/1/38 Exp: 25/01/17 | D-8771 | Permit#2016/1/186 Exp: 11/03/17 | Y | 2017-01-17 | 2016-08-01
Hi-tech Inspection services LLC | HARWEEL | CCC/PDO pit room | Ir-192 (28.60 Ci ) | 2016-04-06 | 28600H | Permit#2016/1/211 Exp: 15/03/17 | D9668 | Permit#2015/1/743 Exp: 08/10/16 | Y | 2017-02-28 | 2016-08-01
Hi-tech Inspection services LLC | NIMR | WPAI/PDO pit room | Ir-192 (17.22 Ci ) | 2016-05-25 | 26091H | Permit#2016/1/38 Exp: 25/01/17 | D10587 | Permit#2015/1/1007 Exp: 05/01/17 | Y | 2017-01-17 | 2016-08-01
Hi-tech Inspection services LLC | QARN ALAM | STST/PDO pit room | Ir-192 (17.52 Ci ) | 2016-04-30 | 26081H | Permit#2016/1/38 Exp: 25/01/17 | D11100 | Permit#2016/1/380 Exp: 05/05/17 | Y | 2017-01-17 | 2016-08-01
Hi-tech Inspection services LLC | BAHJA | GPS/PDO pit room | Ir-192 (16.58 Ci ) | 2016-05-25 | AE154 | Permit#2016/1/33 Exp: 23/01/17 | C0150 | Permit#2016/1/35 Exp: 23/01/17 | Y | 2017-01-06 | 2016-08-01
Hi-tech Inspection services LLC | HARWEEL | CCC/PDO pit room | Ir-192 (47.03 Ci ) | 2016-05-24 | 28118H | Permit#2016/1/366 Exp: 08/05/17 | D9669 | Permit#2015/1/743 Exp: 08/10/16 | Y | 2017-04-25 | 2016-08-01

## HAIMO
PDO Radiaton Source Inventory - Haimo
Am-241 activity code
Contractor / Source Holder | Location | MFM name | Radionuclide and activity |  | Source ID No/ tag number |  | Source Permit number | Permit expiry date | amount of source | Date of expected change | Remarks | 2G- 25 mCi
HAIMO | Birba/ Harweel | Harweel SAK-RMS1 008-QR-1 | Am-241 |  | 03206G,03265G,03275G,03293G |  | 604/68/2015 | 2016-07-23 | N/A |  |  | 3G- 25 mCi
HAIMO | Birba/ Harweel | Harweel GFR 006-QR-001 | Am-241 |  |  | 03196G,03245G,03255G,03283G | 622/68/2015 | 2016-07-23 | N/A |  |  | 4G- 50 mCi
HAIMO | Birba/ Harweel | Harweel ZLZ 007-QR-001 | Am-241 |  |  | 03186G,03225G,03235G,03273G | 605/68/2015 | 2016-07-23 | N/A |  |  | 5G-100 mCi
HAIMO | Birba/ Harweel | Birba A-7042 | Am-241 |  |  | 04056G,040555G,040094G,040363G | 168/68/2016 | 2017-02-25 | N/A |  |  | 6G- 150 mCi
HAIMO | Birba/ Harweel | Dafaq 10-QR-001 | Am-241 |  |  | 040256G,040465G,040104G,040553G | 169/68/2016 | 2017-02-25 | N/A
HAIMO | Birba/ Harweel | Budoe NE A-36112 | Am-241 |  |  | 060072G,060112G,01025G | 630/68/2015 & 406/68/2015 | 23-07-2016 & 21/05/2016 | N/A
HAIMO | Birba/ Harweel | Harweel SAK Ph2 A-0811 MR | Am-241 |  |  | 02347G,02076G,065G | 609/68/2015 & 607/68/2015 | 2016-07-23 | N/A
HAIMO | Birba/ Harweel | Harweel Rab Ph2 A-1111 MR | Am-241 |  |  | 050096G,035G,050204G | 292/68/2016 | 2017-04-30 | N/A
HAIMO | Birba/ Harweel | Sarmad A-1102 | Am-241 |  |  | 103.10,88.10,58.10 | 785/68/2015 | 2016-10-01 | N/A
HAIMO | Birba/ Harweel | Rabab SE-2 | Am-241 |  |  | 04156G,040375G,040385G,040113G | 627/68/2015 | 2016-07-23 | N/A
HAIMO | Birba/ Harweel | Zalzala 2 South A-0911 MR | Am-241 |  |  | 020195G,02014G,020455G | 609/68/2015 & 602/68/2015 | 2016-07-23 | N/A
HAIMO | Birba/ Harweel | Zalzala 2 North A-0914 MR | Am-241 |  |  | 01594G,01654G,01604G | 630/68/2015 | 2016-07-23 | N/A
HAIMO | Marmul | Marmul MPS A-24101 | Am-241 |  |  | 020195G,02014G,03 | 602/68/2015 | 2016-07-23 | N/A
HAIMO | Marmul | Marmul A Sandy QR-1001 | Am-241 |  |  | 02144G,02154G,040443G,0012G | 591/68/2015 & 600/68/2015 & 292/68/2016 | 23-07-2016 & 30/04/2017 | N/A
HAIMO | Marmul | Marmul A Non Sandy QR-1031 | Am-241 |  |  | 02164G,02174G,02184G,02134G | 610/68/2015 | 2016-07-23 | N/A
HAIMO | Marmul | Marmul A 25-QR-7221 | Am-241 |  |  | 0055G,00065G,00075G,012G | 591/68/2015 | 2016-07-23 | N/A
HAIMO | Marmul | Marmul A 25-QR-7225 | Am-241 |  |  | 152G,055G,045G,02096G | 596/68/2015 | 2016-07-23 | N/A
HAIMO | Marmul | Marmul A 25-QR-7229 | Am-241 |  |  | 02106G,075G,085G,182G | 611/68/2015 | 2016-07-23 | N/A
HAIMO | Marmul | Marmul B Ph1 25-QR-2005 | Am-241 |  |  | 050114G,050124G,050134G,050144G | 294/68/2016 | 2017-04-30 | N/A
HAIMO | Marmul | Marmul B Ph2 25-QR-2006 | Am-241 |  |  | 040186G,020255G,020285G | 818/68/2015 & 617/68/2015 | 23-07-2016 & 21/10/2016 | N/A
HAIMO | Marmul | Marmul C Ph1 25-QR-3001 | Am-241 |  |  | 050154G,40493G,040373G,040333G | 293/68/2016 | 2017-04-30 | N/A
HAIMO | Marmul | Marmul C Ph2 25-QR-3002 | Am-241 |  |  | 03076G,02046G,02064G,02074G | 624/68/2015, 615/68/2015 | 2016-07-23 | N/A
HAIMO | Marmul | Marmul D Ph1 25-QR-4006 | Am-241 |  |  | 060206G, 050245G, 051836G | 216/68/2016 | 2017-03-24 | N/A
HAIMO | Marmul | Marmul D Ph2 25-QR-4007 | Am-241 |  |  | 00065G,040025G,0202G,040023G | 614/68/2015 | 2016-07-23 | N/A
HAIMO | Marmul | Marmul Al Khalata 23-QR-951 | Am-241 |  |  | 040045G,040085G,02024G,01684G | 297/68/2016 | 2017-04-30 | N/A
HAIMO | Marmul | Marmul Al Khalata 23-QR-952 | Am-241 |  |  | 01194G,050064G,050173G,040573G | 296/68/2016 , 31/68/2016 | 30-04-2017 , 28-01-2017 | N/A
HAIMO | Marmul | AK NC Valley A-23189 | Am-241 |  |  | 105.10,90.10,60.10 | 779/68/2015 | 2016-10-01 | N/A
HAIMO | Marmul | AK SE Valley A-23177 | Am-241 |  |  | 04026G,040355G,040365G,040103G | 620/68/2015, 628/68/2015 | 2016-07-23 | N/A
HAIMO | Marmul | AK B-station A-25253 | Am-241 |  |  | 060126G,050295G,050235G,052993G | 748/68/2015 | 2016-09-29 | N/A
HAIMO | Marmul | AK D-station A-25258 | Am-241 |  |  | 060136G,050535G,050285G,052083G | 749/68/2015 , 30/68/2016 | 29-09-2016 & 28-01-2017 | N/A
HAIMO | Marmul | AK SC Valley A-23184 | Am-241 |  |  | 107.10,92.10,77.10,62.10 | 781/68/2015 | 2016-10-01 | N/A
HAIMO | Marmul | AK C station A-25302 | Am-241 |  |  | 106.10,91.10,61.10 | 780/68/2015 | 2016-10-01 | N/A
HAIMO | Marmul | GNR station A-23200 | Am-241 |  |  | 040416G ,050444G,050063G | 30/68/2016 | 2017-01-28 | N/A
HAIMO | Marmul | GNR station A-23201 | Am-241 |  |  | 060166G ,050494G,051913G | 752/68/2015 | 2016-09-29 | N/A
HAIMO | Marmul | GSR A-25204 | Am-241 |  |  | 060276G,040014G,050395G,052723G | 213/68/2016 & 752/68/2015 | 24-03-2017 & 29-09-2016 | N/A
HAIMO | Marmul | GSR A-25205 | Am-241 |  |  | 060226G,060114G,060084G, 060092G | 957/68/2015 | 2016-12-04 | N/A
HAIMO | Marmul | GSR-II A-25134 | Am-241 |  |  | 111.10, 96.10,81.10,66.10 | 784/68/2015 | 2016-10-01 | N/A
HAIMO | Marmul | GSR-II A-25136 | Am-241 |  |  | 104.10,95.10,89.10,59.10 | 783/68/2015 & 778/68/2015 | 2016-10-01 | N/A
HAIMO | Marmul | GNR Ph1 A-2371 | Am-241 |  |  | 040306G,040445G,040455G,040353G | 25/68/2016 | 2017-01-28 | N/A
HAIMO | Marmul | GNR Ph1 A-2372 | Am-241 |  |  | 040766G,05175G,040174G,050412G | 821/68/2015 | 2016-10-21 | N/A
HAIMO | Marmul | GNR Ph1 A-2373 | Am-241 |  |  | 040236G,040495G,040323G | 32/68/2016 | 2017-01-28 | N/A
HAIMO | Marmul | GNR Ph2 A-23117 | Am-241 |  |  | 113.10,98.10,83.10,68.10 | 788/68/2015 | 2016-10-01 | N/A
HAIMO | Marmul | GNR Ph2 A-23118 | Am-241 |  |  | 114.10,99.10,84.10,69.10 | 745/68/2015 | 2016-09-28 | N/A
HAIMO | Marmul | Marmul D Bulk 25-QR-4035 | Am-241 |  |  | 42.09, 95.09, 96.09 | 250/68/2016 | 2017-04-04 | N/A
HAIMO | Marmul | Marmul C Bulk 25-QR-3035 | Am-241 |  |  | 39.09, 89.09, 90.09 | 248/68/2016 | 2017-04-04 | N/A
HAIMO | Marmul | Marmul B Bulk 25-QR-2035 | Am-241 |  |  | 40.09, 91.09, 92.09 | 249/68/2016 | 2017-04-04 | N/A
HAIMO | Marmul | Marmul C Bulk 25-QR-3042 | Am-241 |  |  | 102.10,87.10,57.10 | 777/68/2015 | 2016-10-01 | N/A
HAIMO | Marmul | Marmul G on plot G-735 | Am-241 |  |  | 03146G,010135G,010145G,03253G | 608/68/2015 | 2016-07-23 | N/A
HAIMO | Marmul | Marmul G on plot G-736 | Am-241 |  |  | 03156G,010165G,010195G,03263G | 592/68/2015 | 2016-07-23 | N/A
HAIMO | Marmul | Marmul G on plot G-737 | Am-241 |  |  | 040024G,040034G,040044G,040054G | 299/68/2016 | 2017-04-30 | N/A
HAIMO | Marmul | Marmul G on plot G-738 | Am-241 |  |  | 03166G,03176G,00055G,142G | 606/68/2015 | 2016-07-23 | N/A
HAIMO | Marmul | Al Khalata Ph2 A-23140 | Am-241 |  |  | 43.09, 69.09, 97.09, 98.09 | 251/68/2016 | 2017-04-04 | N/A
HAIMO | Marmul | Al Khalata Ph2 A-23141 | Am-241 |  |  | 41.09, 67.09, 93.09, 94.09 | 252/68/2016 | 2017-04-04 | N/A
HAIMO | Marmul | ASP A-23205 | Am-241 |  |  | 46.09, 133.09, 134.09 | 644/68/2015 | 2016-08-08 | N/A
HAIMO | Marmul | ASP A-23206 | Am-241 |  |  | 47.09, 135.09, 136.09 | 645/68/2015 | 2016-08-08 | N/A
HAIMO | Marmul | ASP A-23207 | Am-241 |  |  | 48.09, 137.09, 138.09 | 646/68/2015 | 2016-08-08 | N/A
HAIMO | Marmul | ASP A-23208 | Am-241 |  |  | 73.09, 94.10,97.10 | 645/68/2015 & 786/68/2015, 787/68/2015 | 08-08-2016 , 01-10-2016 | N/A
HAIMO | Marmul | Ghanuq A-8351 | Am-241 |  |  | 108.10,93.10,63.10 | 782/68/2015 | 2016-10-01 | N/A
HAIMO | Marmul | Thuleilat South 1 83-QR-011 | Am-241 |  |  | 04066G,040235G,040245G,040034G | 601/68/2015 | 2016-07-23 | N/A
HAIMO | Marmul | Thuleilat South 2 90-QR-101 | Am-241 |  |  | 040716G,050185G,050184G,050432G | 824/68/2015 | 2016-10-21 | N/A
HAIMO | Marmul | Thuleilat North 1 83-QR-012 | Am-241 |  |  | 04086G,040255G,040265G,040053G | 625/68/2015 | 2016-07-23 | N/A
HAIMO | Marmul | Thuleilat North 1 83-QR-013 | Am-241 |  |  | 040696G,050045G,040114G,050212G | 822/68/2015 | 2016-10-21 | N/A
HAIMO | Marmul | Qaharir and Wadi haka A-3507 | Am-241 |  |  | 040403G,040343G,040393G | 300/68/2016 | 2017-04-30 | N/A
HAIMO | Marmul | Qaharir and Wadi haka A-3508 | Am-241 |  |  | 050026G,050036G,050046G,050104G | 295/68/2016 | 2017-04-30 | N/A
HAIMO | Marmul | Qaharir and Wadi haka A-3518 | Am-241 |  |  | 050106G,050116G,050126G,040266G | 298/68/2016 | 2017-04-30 | N/A
HAIMO | Marmul | Qaharir A-3566 | Am-241 |  |  | 040746G,050145G,040244G,050242G | 819/68/2015 | 2016-10-21 | N/A
HAIMO | Marmul | Thuleilat North III A-8345 | Am-241 |  |  | 129.09,130.09,44.09 | 642/68/2015 | 2016-08-08 | N/A
HAIMO | Marmul | Thuleilat South III A-8346 | Am-241 |  |  | 131.09,132.09,71.09,45.09 | 643/68/2015 | 2016-08-08 | N/A
HAIMO | Marmul | Thuleilat North Bulk A-8378 | Am-241 |  |  | 03026G, 125G, 022G | 599/68/2015 | 2016-07-23 | N/A
HAIMO | Marmul | Thuleilat South Bulk A-8379 | Am-241 | Cs-137 |  | CS09/0103, 115.10, 70.10 | 844/86/2015, 746/68/2015 | 01-11-2016 & 28-09-2016 | N/A
HAIMO | Nimr | KSF A-48390 | Am-241 | Cs-137 |  | CS09/0101, 109.10, 64.10 | 844/86/2015, 786/68/2015 | 01-11-2016 & 01-10-2016 | N/A
HAIMO | Nimr | KSF A-48391 | Am-241 | Cs-137 |  | CS09/0104 ,112.10,67.10 | 845/86/2015, 787/68/2015 | 01-11-2016 & 01-10-2016 | N/A
HAIMO | Nimr | Al Noor A-8143 | Am-241 |  |  | 050272G,050485G,050355G,040566G | 29/68/2016 | 2017-01-28 | N/A
HAIMO | Nimr | Al Noor A-8144 | Am-241 |  |  | 050733G,050435G,050504G,040556G | 28/68/2016 | 2017-01-28 | N/A
HAIMO | Nimr | Amal BK 20-FQR-061 or A-2047 | Am-241 | Cs-137 |  | 01-1082G,040123G,03016G | 595/68/2015, 607/68/2015 | 2016-07-23 | N/A
HAIMO | Nimr | Al Burj Water inj A-2070 | Am-241 |  |  | 020275G,020265G,01084G | 630/68/2015 & 617/68/2015 | 2016-07-23 | N/A
HAIMO | Nimr | ABAK A-89121 | Am-241 |  |  | 14AM1A0146, 14AM1A0194, 14AM1A0132 | 898/86/2015, 899/86/2015 & 902/86/2015 | 2016-11-18 | N/A |  | Newly commissioned in May 2016
HAIMO | Nimr | ABAK A-89123 | Am-241 |  |  | 14AM1A0136, 14AM1A0118, 14AM1A0141 | 898/86/2015, 899/86/2015 | 2016-11-18 | N/A |  | Newly commissioned in May 2016
HAIMO | Nimr | ABAK A-89122 | Am-241 |  |  | 14AM1A0188,14AM1A0209,14AM1A0125 | 899/86/2015 & 902/86/2015 | 2016-11-18 | N/A
HAIMO | Nimr | ABAK A-89124 | Am-241 | Cs-137 |  | 14CS1A0114,14AM1A0212, 082G | 217/68/16 & 903/86/2015, 593/68/2015 | 28-03-2017 & 18/11/16 &23-07-2016 | N/A
HAIMO | Bahja | Hazar Zauliyah A-74156 | Am-241 |  |  | 14AM1A0089,14AM1A0213, 14AM1A0031 | 904/86/2015 & 903/86/2015 | 2016-11-18 | N/A
HAIMO | Bahja | Bahja gathering stn A-7612 | Am-241 |  |  | 040015G,040095G,040325G,040083G | 621/68/2015, 628/68/2015 | 2016-07-23 | N/A
HAIMO | Bahja | Zauliya A-7403 | Am-241 |  |  | 040433G,040166G,040505G,040405G | 291/68/2016, 28/68/2016 | 30-04-2017 , 28-01-17 | N/A
HAIMO | Bahja | Hawqa A-8146 | Am-241 |  |  | 71.10,101.10,116.10 | 747/68/2015 | 2016-09-28 | N/A
HAIMO | Bahja | Sadad A-8711 | Am-241 |  |  | 020295G,020305G,020315G,02204G | 598/68/2015 | 2016-07-23 | N/A
HAIMO | Bahja | Hashirah A-8007 | Am-241 |  |  | 050206G,050155G,050225G,050402G | 823/68/2015 | 2016-10-21 | N/A
HAIMO | Bahja | Nafoorah A-2903 | Am-241 |  |  | 040736G,050055G,040134G,050232G | 820/68/2015 | 2016-10-21 | N/A
HAIMO | Bahja | Hazar A-74117 | Am-241 |  |  | 100.10,65.10,85.10 | 783/68/2015 & 746/68/2015 | 1/10/2016 & 28/9/2016 | N/A
HAIMO | Source Pit | Box-1 | Cs-137 |  |  | CS09102,CS090105,CS090106 | 844/86/2015 & 845/86/2015 | 2016-11-01 | N/A
HAIMO | Source Pit | Box-2 | Am-241 |  |  | 040563G,040203G,042G,040023G,040013G,040543G,040523G | 291/68/2016, 296/68/2016,594/68/2015,955/68/2015, 846/86/2015, 614/68/2015, 628/68/2015 | 30-04-2017 & 23/07/2016 & 06/12/2016 5/11/2016 | N/A
HAIMO | Source Pit | Box-3 | Am-241 |  |  | 65.09,66.09,68.09,70.09,72.09,74.09 | 248/68/2016,249/68/2016,250/68/2016, 642/68/2015,644/68/2015, 646/68/2015 | 04/04/2017 & 08/08/2016 | N/A
HAIMO | Source Pit | Box-4 | Am-241 |  |  | 72.10, 73.10, 74.10, 75.10 | 777/68/2015, 778/68/2015, 779/68/2015, 785/68/2015 | 2016-10-01 | N/A
HAIMO | Source Pit | Box-5 | Am-241 |  |  | 76.10,78.10,79.10,80.10 | 780/68/2015, 782/68/2015,783/68/2015, 786/68/2015 | 2016-10-01 | N/A
HAIMO | Source Pit | Box-6 | Am-241 |  |  | 82.10, 83.10,84.10,86.10 | 787/68/2015, 788/68/2015, 745/68/2015, 747/68/2015 | 1/10/2016 & 28/9/2016 | N/A
HAIMO | Source Pit | Box-7 | Am-241 |  |  | 05042G, 215G, 185G, 195G, 01035G, 115G | 593/68/2015, 31/68/2016 594/68/2015,599/68/2015, 597/68/2015 | 23-07-2016 & 28/01/2017 | N/A
HAIMO | Source Pit | Box-8 | Am-241 |  |  | 020445G, 040315G, 040485G, 050335G,050275G, 040125G, 040585G | 609/68/2015,621/68/2015,32/68/2016, 31/68/2016, 749/68/2015, 213/68/2016 & 955/68/2015 | 23-07-2016, 28/01/2017, 29/09/2016, 24/03/2017 & 06/12/2016 | N/A
HAIMO | Source Pit | Box-9 | Am-241 |  |  | 040575G, 03056G, 03046G & 02026G | 846/86/2015, 593/68/2015, 594/68/2015 & 595/68/2015 | 05-11-2016, 23-07-2016 | N/A
HAIMO | Source Pit | Box-10 | Am-241 |  |  | 04146G, 02056G, 04036G, 04076G & 04126G | 620/68/2015, 624/68/2015, 628/68/2015, 28/68/2016, 846/86/2015 | 23-07-2016, 28/01/2017 & 5/11/2016 | N/A
HAIMO | Source Pit | Box-11 | Am-241 |  |  | 3-50-08, 4-50-08 | 215/68/2016, 214/68/2016 | 2017-03-21 | N/A
HAIMO | Source Pit | Box-12 | Am-241 |  |  | empty | N/A | N/A | N/A
HAIMO | Source Pit | Box-13 | Am-241 |  |  | empty | N/A | N/A | N/A

## GTIS
Sl.No | Contractor / Source Holder | Location | Storage Area at Location (PDO/ contractor) | Radionuclide and activity | Date of origin | Pigtail Sl No. | Source ID No. | Source Permit number & expiry date | Camera Serial No | Camera permit number & expiry date | wipe tested Y/N | next leak/wipe test due on | Date of expected change | Remarks
1 | STST | Fahud | Fahud | Ir-192, 27.5Ci | 12.04.2016 | 28176G | 27814H | 2016/110/289 & Exp-12.04.2017 | D-12052 | 2015/110/1034 & Exp-14.12.2016 | Y | 22.12.2016 | 20.02.2017
2 | GALFAR | Fahud | Fahud | Ir-192, 27.3Ci | 12.04.2016 | 28166G | 27745H | 2016/110/289 & Exp-12.04.2017 | D-7626 | 2015/110/769 & Exp-23.09.2016 | Y | 22.12.2016 | 20.02.2017
3 | GALFAR | Fahud | Fahud | Ir-192, 28.44Ci | 07.04.2016 | 8898G | AE639 | 2016/110/449 & Exp-25.04.2017 | D-7135 | 2015/110/768 & Exp-23.09.2016 | Y | 22.12.2016 | 07.12.2016
4 | GALFAR | Yibal | Yibal | Ir-192, 27.6Ci | 12.04.2016 | 28427G | 27742H | 2016/110/289 & Exp-12.04.2017 | D-12804 | 2015/110/667 & Exp-25.08.2016 | Y | 22.12.2016 | 20.02.2017
5 | GALFAR | Yibal | Yibal | Ir-192, 8.19Ci | 18.11.2015 | 8567G | AD 935 | 2015/110/971 & Exp-06.12.2016 | D-7622 | 2015/110/768 & Exp-23.09.2016 | Y | 22.12.2016 | 20.07.2016
6 | STST | Yibal | Yibal | Ir-192, 28.75Ci | 08.04.2016 | 9048G | AE641 | 2016/110/449 & Exp-25.04.2017 | D-7627 | 2015/110/769 & Exp-23.09.2016 | Y | 22.12.2016 | 08.12.2016
7 | Alhaditha | Yibal | Yibal | Ir-192, 12.9Ci | 02.02.2016 | 28350G | 26782H | 2016/110/87 & Exp-16.02.2017 | D-14033 | 2016/110/88 & Exp-16.02.2017 | Y | 19.11.2016 | 28.11.2016
8 | Alhaditha | Qarnalam | Qarnalam | Ir-192, 11.0Ci | 18.01.2016 | 27049G | 25972H | 2016/110/47 & Exp-26.01.2017 | D-12806 | 2015/110/667 & Exp-25.08.2016 | Y | 22.12.2016 | 10.11.2016
9 | GALFAR | Shairawal | Qarnalam | Ir-192, 11.0Ci | 18.01.2016 | 27113G | 25986H | 2016/110/47 & Exp-26.01.2017 | D-12802 | 2015/110/667 & Exp-25.08.2016 | Y | 22.12.2016 | 10.11.2016
10 | STST | Lekhwair | Lekhwair | Ir-192, 13.1Ci | 02.02.2016 | 28371G | 26808H | 2016/110/87 & Exp-16.02.2017 | D-14049 | 2016/110/88 & Exp-16.02.2017 | Y | 06.01.2017 | 28.11.2016
11 | WPAI | Bhaja | Bhaja | Ir-192, 12.8Ci | 02.02.2016 | 28410G | 26813H | 2016/110/87 & Exp-16.02.2017 | D-14117 | 2016/110/88 & Exp-16.02.2017 | Y | 29.12.2016 | 28.11.2016
12 | WPAI | Marmul | Marmul | Ir-192, 10.8Ci | 18.01.2016 | 27045G | 25974H | 2016/110/47 & Exp-26.01.2017 | D-12799 | 2015/110/966 & Exp-25.08.2016 | Y | 22.12.2016 | 10.11.2016
13 | BEC | Marmul | Marmul | Ir-192, 4.0Ci | 17.09.2015 | 20026G | 22788H | 2015/110/789 & Exp-29.09.2016 | D-12807 | 2015/110/667 & Exp-25.08.2016 | Y | 22.12.2015 | 27.07.2016
14 | STS | Amal | Amal | Se75, 11.5Ci | 17.09.2015 | 23010H | SE4774 | 2015/110/789 & Exp-29.09.2016 | D-7319 | 2015/110/768 & Exp-23.09.2016 | Y | 22.12.2016 | 01.09.2016
15 | STS | Nimr | Amal | Ir-192, 28.29Ci | 08.04.2016 | 9100G | AE640 | 2016/110/449 & Exp-25.04.2017 | D-7623 | 2015/110/768 & Exp-23.09.2016 | Y | 22.12.2016 | 08.12.2016

## PDO
PDO Radiaton Source Inventory -PDO
Contractor / Source Holder | Location | Radionuclide and activity | Source ID No/ tag number | Source Permit number | Permit expiry date | amount of source | Date of expected change | Remarks
PDO | Nimr, Karim West | CS-137 | AE-1130 | 6/100/2016 | 2016-12-07 | 3 mci | N/A
PDO | QA | Am-241 | 27Q1A-0402, 27Q1A-0102 | 426/100/2015 | 2016-06-25 | 0.03 mci | N/A
PDO | Zalzala | CS-137 | R0824, R0819 | 192/100/2015 | 2016-06-01 | 0.05 mci | N/A

## Falcon
Barcode ID | Serial Number | Title | Description | Asset Type | Category | Classification | Make | Model | Site | Status | Assigned To | last leak test | next leak test
KR-85 | none | Krypton-85 tracer gas | Krypton-85 tracer gas | Radiation | Open Sources | Kr-85_Kryton | Eckert & Ziegler | Kr5.Z00 / CS 500ML | Nizwa | IN |  | 2015-12-01 | 2016-09-01
RA-Am241 US12AM003475 | US12AM003475 / 1576-40-04 | Am241 referance source inside MGST detector | Am241 referance source US12AM003475 inside MGST 1501 detector | Radiation | Sealed Sources | Stabilization_referance sources | Saint-Gobain / E&Z |  | Nizwa | IN |  | NA | NA
RA-Am241 US12AM003485 | US12AM003485 / 1576-40-08 | Am241 referance source inside MGST detector | Am241 referance source US12AM003485 inside MGST 1502 detector | Radiation | Sealed Sources | Stabilization_referance sources | Ssaint-Gobain / E&Z |  | Nizwa | IN |  | NA | NA
RA-Am241-2416AR | 2416AR | Am241_5.55Gbq source for use in FDR | Am241_5.55Gbq source for use in FDR | Radiation | Sealed Sources | Sondex FDR | AEA-Sondex | AMC.CY2 | LIH | out | PDO final status unknown. | can not do | can not do
RA-Am241-2417AR | 2417AR | Am241_5.55Gbq source for use in FDR | Am241_5.55Gbq source for use in FDR | Radiation | Sealed Sources | Sondex FDR | AEA-Sondex | AMC.CY2 | Nizwa | IN |  | 2016-03-01 | 2016-09-01
RA-Am241-3359CW | 3359CW | Am241_5.55Gbq source for use in FDR | Am241_5.55Gbq source for use in FDR | Radiation | Sealed Sources | Sondex FDR | AEA-Sondex | AMC.CY2 | Nizwa | IN |  | 2016-03-01 | 2016-09-01
RA-Am241-4032CW | 4032CW | Am241_5.55Gbq source for use in FDR | Am241_5.55Gbq source for use in FDR | Radiation | Sealed Sources | Sondex FDR | AEA-Sondex | AMC.CY2 | LIH | out | PDO final status unknown. | can not do | can not do
RA-Am241-4036CW | 4036CW | Am241 5.55Gbq source for use in FDR | Am241 5.55Gbq source for use in FDR | Radiation | Sealed Sources | Sondex FDR | QSA Global-Sondex | AMC.CY2 | LIH | out | PDO final status unknown. | can not do | can not do
RA-Am241-4055CW | 4055CW | Am241_5.55Gbq source for use in FDR | Am241_5.55Gbq source for use in FDR | Radiation | Sealed Sources | Sondex FDR | AEA-Sondex | AMC.CY2 | Nizwa | IN |  | 2016-03-01 | 2016-09-01
RA-Am241-4057CW | 4057CW | Am241_5.55Gbq source for use in FDR | Am241_5.55Gbq source for use in FDR | Radiation | Sealed Sources | Sondex FDR | AEA-Sondex | AMC.CY2 | LIH | out | PDO final status unknown. | can not do | can not do
RA-Am241-4392AR | 4392AR | Am241 5.55Gbq source for use in FDR | Am241 5.55Gbq source for use in FDR | Radiation | Sealed Sources | Sondex FDR | QSA Global-Sondex | AMC.CY2 | LIH | out | PDO final status unknown. | can not do | can not do
RA-Am241-4393AR | 4393AR | Am241 5.55Gbq source for use in FDR | Am241 5.55Gbq source for use in FDR | Radiation | Sealed Sources | Sondex FDR | QSA Global-Sondex | AMC.CY2 | Nizwa | IN |  | 2016-03-01 | 2016-09-01
RA-Am241-4394AR | 4394AR | Am241_5.55Gbq source for use in FDR | Am241_5.55Gbq source for use in FDR | Radiation | Sealed Sources | Sondex FDR | QSA Global-Sondex | AMC.CY2 |  | OUT | Al Khuzairi, Isehaq Juma | 2016-03-01 | 2016-09-01
RA-Am241-5015AR | 5015AR | Am241_5.55Gbq source for use in FDR | Am241_5.55Gbq source for use in FDR | Radiation | Sealed Sources | Sondex FDR | AEA-Sondex | AMC.CY2 | Nizwa | IN |  | 2016-03-01 | 2016-09-01
RA-Am241-55314B | 55314B | Am241_5.55Gbq source for use in FDR | Am241_5.55Gbq source for use in FDR | Radiation | Sealed Sources | Sondex FDR | QSA Global-Sondex | AMC.CY2 | Nizwa | IN |  | 2016-03-01 | 2016-09-01
RA-Am241-55315B | 55315B | Am241_5.55Gbq source for use in FDR | Am241_5.55Gbq source for use in FDR | Radiation | Sealed Sources | Sondex FDR | QSA Global-Sondex | AMC.CY2 | LIH | out | PDO final status unknown. | can not do | can not do
RA-Am241-55316B | 55316B | Am241_5.55Gbq source for use in FDR | Am241_5.55Gbq source for use in FDR | Radiation | Sealed Sources | Sondex FDR | QSA Global-Sondex | AMC.CY2 | Nizwa | IN |  | 2016-03-01 | 2016-09-01
RA-Am241-58178B | 58178B | Am241_5.55Gbq source for use in FDR | Am241_5.55Gbq source for use in FDR | Radiation | Sealed Sources | Sondex FDR | QSA Global-Sondex | AMC.CY2 | Nizwa | IN |  | 2016-03-01 | 2016-09-01
RA-Am241Be 15AB1A0008 | 15AB1A0008 | Am241Be calibration source # 15AB1A0008 | Am241Be calibration source inside neutron calibration box 18.5 GBq | Radiation | Sealed Sources | OH calibration sources | HTA (China) | ABAAM500GG | Nizwa | IN |  | new | 2016-09-01
RA-AM241BE EZ15042 | EZ15042 | Am241Be Neutron logging source # EZ15042 | Am241Be Neutron logging source # EZ15042, 592Gbq used in neutron logging tool. | Radiation | Sealed Sources | OH logging sources | Eckert & Zieger | WL4107 | Nizwa | IN |  | new | 2016-09-01
RA-Cs137 0411CS000835 | 0411CS000835 | Cs137 density tool stabilization source # 0411CS000835 | Cs137 density tool NLDS1502 stabilization source, 37KBq | Radiation | Sealed Sources | Stabilization_referance sources | HTA (China) | A31 | Nizwa | IN |  | NA | NA
RA-Cs137 0411CS000845 | 0411CS000845 | Cs137 density tool stabilization source # 0411CS000845 | Cs137 density tool NLDS1505 stabilization source, 37KBq | Radiation | Sealed Sources | Stabilization_referance sources | HTA (China) | A32 | Nizwa | IN |  | NA | NA
RA-Cs137 0411CS000855 | 0411CS000855 | Cs137 density tool stabilization source # 0411CS000855 | Cs137 density tool NLDS1506 stabilization source, 37KBq | Radiation | Sealed Sources | Stabilization_referance sources | HTA (China) | A33 | Nizwa | IN |  | NA | NA
RA-Cs137 0411CS000865 | 0411CS000865 | Cs137 density tool stabilization source # 0411CS000865 | Cs137 density tool NLDS1506 stabilization source, 37KBq | Radiation | Sealed Sources | Stabilization_referance sources | HTA (China) | A34 | Nizwa | IN |  | NA | NA
RA-Cs137 15CS1C0025 | 15CS1C0025 | Cs-137 OH logging source #15CS1C0025 | OH wireline logging source for density logging tool 56Gbq | Radiation | Sealed Sources | OH logging sources | HTA (China) | CSACC1.5WG | Nizwa | IN |  | new | 2016-09-01
RA-HWS-000286 | 286 | Hunter Well Science neutron accelerator RAS tool | Hunter Well Science neutron accelerator RAS tool | Radiation | Accelerators | Thermofisher | Thermo Fisher Scientific | PNT001 Neutron generator | Nizwa | out | HWS under repair | NA | NA
RA-HWS-000287 | 287 | Hunter Well Science neutron accelerator RAS tool | Hunter Well Science neutron accelerator RAS tool | Radiation | Accelerators | Thermofisher | Thermo Fisher Scientific | PNT001 Neutron generator | Nizwa | IN |  | NA | NA
RA-Th232 FOFS001 | FOFS001 | Th-232 calibration blanket # FOFS001 | Th-232 GR calibration blanket, 111KBq | Radiation | Sealed Sources | OH calibration sources | CSIC (China) | blanket | Nizwa | IN |  | NA | NA

## SLB
Asset ID / Model Id Model Description | Source Permit number & expiry date | Storage Area Location (PDO/Contractor) | Leak Test Frequency | Date of Last (L)eak Test | Date of Next (L)eak Test | Latest Leak Test Result
GGLS-FZ-A3366 / GGLS-FZ | Permit # 388/12/2016 | Fahud Schlumberger base | 12 month | 16 Feb 2016 (L) | 16 Feb 2017 (L) | 2016-02-25
Gamma Logging Source Cs137 63 GBq (1.7 Ci) ThruBit | 2016-04-21
GSRJ-2941 / GSR-J | Permit # 882/12/2015 | Fahud Schlumberger base | 12 month | 24 Apr 2016 (L) | 24 Apr 2017 (L) | 2016-05-05
Logging Source Cs137 63 GBq (1.7 Ci) | 2016-11-15
GSRJ-2943 / GSR-J | Permit # 882/12/2015 | Fahud Schlumberger base | 12 month | 15 May 2016 (L) | 15 May 2017 (L) | 2016-07-14
Logging Source Cs137 63 GBq (1.7 Ci) | 2016-11-15 |  |  |  |  | (Due by Date)
GSRJ-2945 / GSR-J | Permit # 852/12/2015 | Fahud Schlumberger base | 12 month | 17 Nov 2015 (L) | 17 Nov 2016 (L) | 2015-12-15
Logging Source Cs137 63 GBq (1.7 Ci) | 2016-11-15
GSRJ-2981 / GSR-J | Permit # 881/12/2015 | Fahud Schlumberger base | 12 month | 17 Nov 2015 (L) | 17 Nov 2016 (L) | 2015-12-15
Logging Source Cs137 63 GBq (1.7 Ci) | 2016-11-15
GSRJ-3844 / GSR-J | Permit # 881/12/2015 | Fahud Schlumberger base | 12 month | 15 May 2016 (L) | 15 May 2017 (L) | 2016-06-13
Logging Source Cs137 63 GBq (1.7 Ci) | 2016-11-15
GSRJ-4706 / GSR-J | Permit # 579/12/2015 | Fahud Schlumberger base | 12 month | 24 Apr 2016 (L) | 24 Apr 2017 (L) | 2016-05-05
Logging Source Cs137 63 GBq (1.7 Ci) | 2016-06-25
GSRJ-4707 / GSR-J | Permit # 579/12/2015 | Fahud Schlumberger base | 12 month | 24 Apr 2016 (L) | 24 Apr 2017 (L) | 2016-05-25
Logging Source Cs137 63 GBq (1.7 Ci) | 2016-06-25
GSRJ-4770 / GSR-J | Permit # 854/12/2015 | Fahud Schlumberger base | 12 month | 23 Nov 2015 (L) | 23 Nov 2016 (L) | 2015-12-15
Logging Source Cs137 63 GBq (1.7 Ci) | 2016-12-19
GSRJ-4811 / GSR-J | Permit # 564/12/2015 | Fahud Schlumberger base | 12 month | 24 Apr 2016 (L) | 24 Apr 2017 (L) | 2016-05-05
Logging Source Cs137 63 GBq (1.7 Ci) | 2016-07-01
GSRJ-4814 / GSR-J | Permit # 99/12/2016 | Fahud Schlumberger base | 12 month | 29 Aug 2015 (L) | 29 Aug 2016 (L) | 2015-09-13
Logging Source Cs137 63 GBq (1.7 Ci) | 2017-02-12
GSRJ-4817 / GSR-J | Permit # 886/12/2015 | Fahud Schlumberger base | 12 month | 29 Aug 2015 (L) | 29 Aug 2016 (L) | 2015-09-13
Logging Source Cs137 63 GBq (1.7 Ci) | 2016-12-08
GSRJ-A5196 / GSR-J | Permit # 566/12/2015 | Fahud Schlumberger base | 12 month | 24 Apr 2016 (L) | 24 Apr 2017 (L) | 2016-05-05
Logging Source Cs137 63 GBq (1.7 Ci) | 2016-07-16
GSRJ-A5291 / GSR-J | Permit # 567/12/2015 | Fahud Schlumberger base | 12 month | 24 Apr 2016 (L) | 24 Apr 2017 (L) | 2016-05-05
Logging Source Cs137 63 GBq (1.7 Ci) | 2016-06-25
GSRJ-A5295 / GSR-J | Permit # 567/12/2015 | Fahud Schlumberger base | 12 month | 22 Nov 2015 (L) | 22 Nov 2016 (L) | 2016-01-21
Logging Source Cs137 63 GBq (1.7 Ci) | 2016-06-25
GSRJ-A5296 / GSR-J | Permit # 567/12/2015 | Fahud Schlumberger base | 12 month | 24 Apr 2016 (L) | 24 Apr 2017 (L) | 2016-05-05
Logging Source Cs137 63 GBq (1.7 Ci) | 2016-06-25
GSRJ-A5617 / GSR-J | Permit # 108/12/2016 | Fahud Schlumberger base | 12 month | 17 Nov 2015 (L) | 17 Nov 2016 (L) | 2015-12-15
Logging Source Cs137 63 GBq (1.7 Ci) | 2016-02-11
GSRU-1184 / GSR-U | Permit # 395/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-04-24
GSRU-1914 / GSR-U | Permit # 395/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-04-24
GSRY-067-15 / GSR-Y | Permit # 120/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-02-18
GSRY-067-53 / GSR-Y | Permit # 120/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-02-18
GSRY-067-54 / GSR-Y | Permit # 120/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-02-18
GSRY-067-55 / GSR-Y | Permit # 120/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-02-18
GSRY-077-23 / GSR-Y (Cerca) | Permit # 720/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 (63 kBq) | 2016-08-20
GSRY-077-66 / GSR-Y | Permit # 93/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-01-03
GSRY-077-67 / GSR-Y | Permit # 93/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-01-03
GSRY-077-68 / GSR-Y | Permit # 93/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-01-03
GSRY-079-20 / GSR-Y | Permit # 861/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2016-10-06
GSRY-079-21 / GSR-Y | Permit # 861/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2016-10-06
GSRY-079-22 / GSR-Y | Permit # 861/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2016-10-06
GSRY-079-23 / GSR-Y | Permit # 861/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2016-10-06
GSRY-079-35 / GSR-Y | Permit # 570/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2016-07-01
GSRY-079-38 / GSR-Y | Permit # 869/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2016-10-06
GSRY-079-39 / GSR-Y | Permit # 869/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2016-10-06
GSRY-080-19 / GSR-Y | Permit # 90/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-01-25
GSRY-13106 / GSR-Y | 395/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-04-24
GSRY-16155 / GSR-Y | Permit # 422/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-04-24
GSRY-44164 / GSR-Y | Permit # 404/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-04-24
GSRY-48155 / GSR-Y | Permit # 404/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-04-24
GSRY-49155 / GSR-Y | Permit # 404/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-04-24
GSRY-53107 / GSR-Y | Permit # 404/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-04-24
GSRY-57149 / GSR-Y | Permit # 422/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-04-24
GSRY-6416 / GSR-Y | Permit # 405/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-04-24
GSRY-6419 / GSR-Y | Permit # 405/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-04-24
GSRZ-A3145 / GSR-Z | Permit # 730/12/2015 | Fahud Schlumberger base | 12 month | 17 Nov 2015 (L) | 17 Nov 2016 (L) | 2015-12-15
Logging Source Cs137 63 GBq (1.7 Ci) | 2016-08-04
GSRZ-A3376 / GSR-Z | Permit # 109/12/2016 | Fahud Schlumberger base | 12 month | 24 Nov 2015 (L) | 24 Nov 2016 (L) | 2015-12-19
Logging Source Cs137 63 GBq (1.7 Ci) | 2017-02-24
I4-406 / A3888 2.5 nCi Na-22 | Permit # 947/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Na-22 Stab Source 2.5 nCi | 2016-12-16
I9-237 / A3916-8 (33.3 kBq) | Permit # 885/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Cs-137 33.3 kBq Double Encapsulated Source | 2016-12-02
K5-153 / A3888 2.5 nCi Na-22 | Permit # 723/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Na-22 Stab Source 2.5 nCi | 2016-08-17
L7-357 / A3888 2.5 nCi Na-22 | Permit # 89/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Na-22 Stab Source 2.5 nCi | 2017-01-13
L7-358 / A3888 2.5 nCi Na-22 | Permit # 89/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Na-22 Stab Source 2.5 nCi | 2017-01-13
M2-333 / A3888 2.5 nCi Na-22 | Permit # 848/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Na-22 Stab Source 2.5 nCi | 2016-10-31
M2-334 / A3888 2.5 nCi Na-22 | Permit # 848/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Na-22 Stab Source 2.5 nCi | 2016-10-31
M2-335 / A3888 2.5 nCi Na-22 | Permit # 848/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Na-22 Stab Source 2.5 nCi | 2016-10-31
M2-336 / A3888 2.5 nCi Na-22 | Permit # 848/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Na-22 Stab Source 2.5 nCi | 2016-10-31
NNLS-EWA-4808 / NNLS-EWA | Permit # 387/12/2016 | Fahud Schlumberger base | 12 month | 16 Feb 2016 (L) | 16 Feb 2017 (L) | 2016-04-17
Neutron Logging Source TB Cf-252 18.9mCi(0.7GBq) | 2017-04-21
NSRF-1095 / NSR-F | Permit # 123/12/2016 | Fahud Schlumberger base | 12 month | 22 Nov 2015 (L) | 22 Nov 2016 (L) | 2015-12-15
Logging Source Am241Be 592 GBq (16 Ci) | 2017-03-09
NSRF-A212 / NSR-F | Permit #880/12/2015 | Fahud Schlumberger base | 12 month | 24 Apr 2016 (L) | 24 Apr 2017 (L) | 2016-05-05
Logging Source Am241Be 592 GBq (16 Ci) | 2016-11-15
NSRF-A3009 / NSR-F | Permit # 878/12/2015 | Fahud Schlumberger base | 12 month | 24 Apr 2016 (L) | 24 Apr 2017 (L) | 2016-05-05
Logging Source Am241Be 592 GBq (16 Ci) | 2015-11-15
NSRF-A695 / NSR-F | Permit #852/12/2015 | Fahud Schlumberger base | 12 month | 24 Apr 2016 (L) | 24 Apr 2017 (L) | 2016-05-05
Logging Source Am241Be 592 GBq (16 Ci) | 2016-11-15
NSRF-G5220 / NSR-F | Permit #115/12/2016 | Fahud Schlumberger base | 12 month | 17 Nov 2015 (L) | 17 Nov 2016 (L) | 2015-12-15
Logging Source Am241Be 592 GBq (16 Ci) | 2017-01-15
NSRF-G5221 / NSR-F | Permit #115/12/2016 | Fahud Schlumberger base | 12 month | 24 Nov 2015 (L) | 24 Nov 2016 (L) | 2015-12-19
Logging Source Am241Be 592 GBq (16 Ci) | 2017-01-15
NSRF-G5243 / NSR-F | Permit # 884/12/2015 | Fahud Schlumberger base | 12 month | 23 Nov 2015 (L) | 23 Nov 2016 (L) | 2015-12-15
Logging Source Am241Be 592 GBq (16 Ci) | 2016-11-14
NSRGB-4066 / NSR-GB(GAM) | Permit # 878/12/2015 | Fahud Schlumberger base | 12 month | 24 Apr 2016 (L) | 24 Apr 2017 (L) | 2016-05-05
Calibration Source Am241Be 18.5 GBq (0.5 Ci) | 2015-11-15
NSRGB-4335 / NSR-GB(GAM) | Permit # 878/12/2015 | Fahud Schlumberger base | 12 month | 24 Apr 2016 (L) | 24 Apr 2017 (L) | 2016-05-05
Calibration Source Am241Be 18.5 GBq (0.5 Ci) | 2015-11-15
NSRL-G4007 / NSR-L | Permit # 866/12/2015 | Fahud Schlumberger base | 12 month | 24 Apr 2016 (L) | 24 Apr 2017 (L) | 2016-05-05
Logging Source Am241Be 592 GBq (16 Ci) | 2016-10-05
NSRL-G4051 / NSR-L | Permit # 730/12/2015 | Fahud Schlumberger base | 12 month | 17 Nov 2015 (L) | 17 Nov 2016 (L) | 2015-12-15
Logging Source Am241Be 592 GBq (16 Ci) | 2016-08-04
NZ113 / LDT ref source | Permit # 361/12/2016 | Fahud Schlumberger base | na | na | None Required | na
LDT calibration source Cs137 (33 kBq) | 2017-04-03
NZ116 / LDT ref source | Permit # 361/12/2016 | Fahud Schlumberger base | na | na | None Required | na
LDT calibration source Cs137 (33 kBq) | 2017-04-03
NZ149 / LDT ref source | Permit # 865/12/2015 | Fahud Schlumberger base | na | na | None Required | na
LDT calibration source Cs137 (33 kBq) | 2016-10-31
OD130 / LDT ref source | Permit # 865/12/2015 | Fahud Schlumberger base | na | na | None Required | na
LDT calibration source Cs137 (33 kBq) | 2016-10-31
OD131 / LDT ref source | Permit # 865/12/2015 | Fahud Schlumberger base | na | na | None Required | na
LDT calibration source Cs137 (33 kBq) | 2016-10-31
OD132 / LDT ref source | Permit # 865/12/2015 | Fahud Schlumberger base | na | na | None Required | na
LDT calibration source Cs137 (33 kBq) | 2016-10-31
OD145 / LDT ref source | Permit # 361/12/2016 | Fahud Schlumberger base | na | na | None Required | na
LDT calibration source Cs137 (33 kBq) | 2017-04-03
OD148 / LDT ref source | Permit # 361/12/2016 | Fahud Schlumberger base | na | na | None Required | na
LDT calibration source Cs137 (33 kBq) | 2017-04-03
PNG-AA-1062-50134 / PNG-AA(I) | Permit # 117/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Model PNG-AA containing an IEM minitron. | 2017-03-11
PNG-AA-1120-50933 / PNG-AA(I) | Permit # 117/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Model PNG-AA containing an IEM minitron. | 2017-03-11
PNG-AA-1160-50918 / PNG-AA(I) | Permit # 288/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Model PNG-AA containing an IEM minitron. | 2017-04-12
PNG-AA-1200-7476 / PNG-AA | Permit # 732/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Neutron Generator H3 55.5 GBq (1.5 Ci) | 2016-08-27
PNG-AA-1252-50350 / PNG-AA(I) | Permit # 871&872/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Model PNG-AA containing an IEM minitron. | 2016-11-10
PNG-AA-1288-50357 / PNG-AA(I) | Permit # 871&872/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Model PNG-AA containing an IEM minitron. | 2016-11-10
PNG-AA-1294-50188 / PNG-AA(I) | Permit # 116/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Model PNG-AA containing an IEM minitron. | 2017-03-11
PNG-AA-1295-50494 / PNG-AA(I) | Permit # 125/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Model PNG-AA containing an IEM minitron. | 2017-03-15
PNG-AA-1350-50934 / PNG-AA(I) | Permit # 287/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Model PNG-AA containing an IEM minitron. | 2017-04-12
PNG-AA-1374-50178 / PNG-AA(I) | Permit # 92/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Model PNG-AA containing an IEM minitron. | 2017-01-18
PNG-AA-1381-50130 / PNG-AA(I) | Permit # 116/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Model PNG-AA containing an IEM minitron. | 2017-03-11
PNG-AA-1382-6723 / PNG-AA | Permit # 575/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Neutron Generator H3 55.5 GBq (1.5 Ci) | 2016-06-25
PNG-AA-1439-50354 / PNG-AA(I) | Permit # 732/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Model PNG-AA containing an IEM minitron. | 2016-08-27
PNG-AA-1443-7318 / PNG-AA | Permit # 732/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Neutron Generator H3 55.5 GBq (1.5 Ci) | 2016-08-27
PNG-AA-1464-50917 / PNG-AA(I) | Permit # 288/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Model PNG-AA containing an IEM minitron. | 2017-04-12
PNG-AA-1478-50942 / PNG-AA(I) | Permit # 287/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Model PNG-AA containing an IEM minitron. | 2017-04-12
PNG-BA-1008-7441 / PNG-BA | Permit # 731/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Neutron Generator H3 55.5 GBq (1.5 Ci) | 2016-08-27
PNG-BA-1013-6888 / PNG-BA | Permit # 565/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Neutron Generator H3 55.5 GBq (1.5 Ci) | 2016-07-08
PNG-BA-5157-7437 / PNG-BA | Permit # 731/12/2015 | Fahud Schlumberger base | na | na | None Required | na
Neutron Generator H3 55.5 GBq (1.5 Ci) | 2016-08-27
PNG-BA-5222-7507 / PNG-BA | Permit # 117/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Neutron Generator H3 55.5 GBq (1.5 Ci) | 2017-03-11
PNG-BA-5239-7353 / PNG-BA | Permit # 94/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Neutron Generator H3 55.5 GBq (1.5 Ci) | 2017-01-20
PNG-BA-5251-50990 / PNG-BA(I) | Permit # 287/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Model PNG-BA containing an IEM minitron. | 2017-04-12
PNG-BA-5270-6394 / PNG-BA | Permit # 101/12/2016 | Fahud Schlumberger base | na | na | None Required | na
Neutron Generator H3 55.5 GBq (1.5 Ci) | 2017-01-20
PNG-GC-7099-50045 / PNG-GC | Permit # 852/12/2015 | Fahud Schlumberger base | na | na | None Required | na
PNG-G with Intermediate Electrode Minitron | 2016-12-31
SFT271-S1061 / SFT-271 | Permit # 735/12/2015 | Fahud Schlumberger base | 12 month | 16 Feb 2016 (L) | 16 Feb 2017 (L) | 2016-04-17
Calibration Source Cs137 7 GBq (190 mCi) | 2016-09-03
GSRJ-1892 / GSR-J | Permit # 421/12/2016 | Marmul PDO facility | 12 month | 27 Sep 2015 (L) | 27 Sep 2016 (L) | 2015-11-19
Logging Source Cs137 63 GBq (1.7 Ci) | 2017-05-22
GSRJ-2974 / GSR-J | Permit # 881/12/2015 | Marmul PDO facility | 12 month | 23 Nov 2015 (L) | 23 Nov 2016 (L) | 2015-12-13
Logging Source Cs137 63 GBq (1.7 Ci) | 2016-11-15
GSRJ-2984 / GSR-J | Permit #880/12/2015 | Marmul PDO facility | 12 month | 21 Nov 2015 (L) | 21 Nov 2016 (L) | 2015-12-13
Logging Source Cs137 63 GBq (1.7 Ci) | 2016-11-15
GSRJ-A5198 / GSR-J | Permit # 566/12/2015 | Marmul PDO facility | 12 month | 27 Sep 2015 (L) | 27 Sep 2016 (L) | 2015-11-03
Logging Source Cs137 63 GBq (1.7 Ci) | 2016-07-16
GSRJ-A5308 / GSR-J | Permit # 96/12/2016 | Marmul PDO facility | 12 month | 27 Sep 2015 (L) | 27 Sep 2016 (L) | 2015-11-02
Logging Source Cs137 63 GBq (1.7 Ci) | 2017-01-19
GSRJ-A5657 / GSR-J | Permit # 767/12/2015 | Marmul PDO facility | 12 month | 30 Sep 2015 (L) | 30 Sep 2016 (L) | 2015-09-30
Logging Source Cs137 63 GBq (1.7 Ci) | 2016-09-26
GSRU-616 / GSR-U | Permit # 395/12/2016 | Marmul PDO facility | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-04-24
GSRU-N10053 / GSR-U | Permit # 127/12/2016 | Marmul PDO facility | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-03-17
GSRU-N10054 / GSR-U | Permit # 127/12/2016 | Marmul PDO facility | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-03-17
GSRY-075-10 / GSR-Y | Permit # 680/12/2015 | Marmul PDO facility | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2016-07-18
GSRY-075-11 / GSR-Y | Permit # 680/12/2015 | Marmul PDO facility | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2016-07-18
GSRY-077-45 / GSR-Y | Permit # 857/12/2015 | Marmul PDO facility | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2016-12-16
GSRY-077-46 / GSR-Y | Permit # 857/12/2015 | Marmul PDO facility | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2016-12-16
GSRY-077-47 / GSR-Y | Permit # 857/12/2015 | Marmul PDO facility | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2016-12-16
GSRY-080-16 / GSR-Y | Permit # 722/12/2015 | Marmul PDO facility | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2016-08-02
GSRY-6413 / GSR-Y | Permit # 405/12/2016 | Marmul PDO facility | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-04-24
GSRY-64138 / GSR-Y | Permit # 405/12/2016 | Marmul PDO facility | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-04-24
GSRY-6415 / GSR-Y | Permit # 422/12/2016 | Marmul PDO facility | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-04-24
GSRY-7164 / GSR-Y | Permit # 422/12/2016 | Marmul PDO facility | na | na | None Required | na
Calibration Blanket Th232 55.5 kBq (0.0015 mCi) | 2017-04-24
J3-849 / A3888 2.5 nCi Na-22 | Permit # 867/12/2015 | Marmul PDO facility | na | na | None Required | na
Na-22 Stab Source 2.5 nCi | 2016-10-06
NSRF-A1014 / NSR-F | Permit # 96/12/2016 | Marmul PDO facility | 12 month | 30 Jul 2015 (L) | 30 Jul 2016 (L) | 2015-09-27
Logging Source Am241Be 592 GBq (16 Ci) | 2017-01-19
NSRF-A1204 / NSR-F | Permit # 123/12/2016 | Marmul PDO facility | 12 month | 27 Sep 2015 (L) | 27 Sep 2016 (L) | 2015-11-03
Logging Source Am241Be 592 GBq (16 Ci) | 2017-03-09
NSRF-A185 / NSR-F | Permit # 102/12/2016 | Marmul PDO facility | 12 month | 23 Nov 2015 (L) | 23 Nov 2016 (L) | 2016-02-01
Logging Source Am241Be 592 GBq (16 Ci) | 2017-02-01
NSRF-A253 / NSR-F | Permit #880/12/2015 | Marmul PDO facility | 12 month | 02 Jul 2015 (L) | 02 Jul 2016 (L) | 2015-07-22
Logging Source Am241Be 592 GBq (16 Ci) | 2016-11-15
NSRF-A382 / NSR-F | Permit # 421/12/2016 | Marmul PDO facility | 12 month | 02 Jul 2015 (L) | 02 Jul 2016 (L) | 2015-07-22
Logging Source Am241Be 592 GBq (16 Ci) | 2017-05-22
NSRF-G5155 / NSR-F | Permit # 634/12/2015 | Marmul PDO facility | 12 month | 04 Jul 2015 (L) | 04 Jul 2016 (L) | 2015-07-13
Logging Source Am241Be 592 GBq (16 Ci) | 2016-08-04
NSRGB-3343 / NSR-GB(GAM) | Permit # 890/12/2015 | Marmul PDO facility | 12 month | 09 Oct 2015 (L) | 09 Oct 2016 (L) | 2015-11-03
Calibration Source Am241Be 18.5 GBq (0.5 Ci) | 2016-11-15