|  | HSE ALERT |  |
| --- | --- | --- |
| ELECTRICAL (TUBE LIGHT) – SAFETY What Happened? Due to over heating of tube light choke, tube light cover melted and fell on the floor of the cabin and caused a minor fire. What Went Wrong? - Electrical equipment (tube light) left in “on” condition for long time without switching it off. - Electrical choke of tube light got over heated, which resulted in melting of diffuser (plastic cover). - Un-approved electrical fitting. Actions to Prevent Recurrence - Switch off all electrical equipment such as air conditioner, tube lights, exhaust fans etc. when the room is not occupied. - Carry out electrical inspection to identify substandard fittings if any, and replace them as soon as possible. - Carry out regular inspection to identify any signs of overheating. |  |  |